SECTION 01300

SUBMITTAL DESCRIPTIONS

# 1	GENERAL

## 1.1	SUMMARY (Not Applicable)

## 1.2	REFERENCES (Not Applicable)

## 1.3	SUBMITTALS

The submittals described below are those required and further described in other sections of the specifications.  Other requirements pertaining to submittals are included in the SPECIAL CLAUSES and Section 01305 SUBMITTAL PROCEDURES.  Submittals required by the CONTRACT CLAUSES and other nontechnical parts of the contract are not included in this section.

SD-01 Data

Submittals which provide calculations, descriptions, or documentation regarding the work.

SD-04 Drawings

Submittals which graphically show relationship of various components of the work, schematic diagrams of systems, details of fabrication, layouts of particular elements, connections, and other relational aspects of the work.

SD-06 Instructions

Preprinted material describing installation of a product, system or material, including special notices and material safety data sheets, if any, concerning impedances, hazards, and safety precautions.

SD-07 Schedules

Tabular lists showing location, features, or other pertinent information regarding products, materials, equipment, or components to be used in the work.

SD-08 Statements

A document, required of the Contractor, or through the Contractor, from a supplier, installer, manufacturer, or other lower tier Contractor, the purpose of which is to confirm the quality or orderly progression of a portion of the work by documenting procedures, acceptability of methods or personnel, qualifications, or other verifications of quality.

SD-09 Reports

Reports of inspections or tests, including analysis and interpretation of test results.  Each report shall be properly identified.  Test methods used shall be identified and test results shall be recorded.

SD-13 Certificates

Statement signed by responsible official of a manufacturer of a product, system or material, attesting that the product, system or material meets specified requirements.  The statement must be dated after the award of this contract, must name the project, and must list the specific requirements which are being certified.

SD-14 Samples

Samples, including both fabricated and unfabricated physical examples of materials, products, and units of work as complete units or as portions of units of work.

SD-18 Records

Documentation to record compliance with technical or administrative requirements.

SD-19 Operation and Maintenance Manuals

Data which forms a part of an operation and maintenance manual.

# 2	PRODUCTS (Not Applicable)

# 3	EXECUTION (Not Applicable)