FAC 8421	Water Distribution Line, Potable

SUC V14:	$ 1.08 LF

Source:	Inflated from V13 using ENR labor and material cost indices to measure actual inflation

Original source:  19967 American Water Works Association (Water Stats)

Calculation as follows:

The sustainment unit costs for FACs 8321 (Sewer & Industrial Waste Line), 8421 (Potable Water Distribution Line), and 8311 (Sewage Treatment) were based upon financial surveys published by the American Municipal Sewerage Agencies (AMSA) and the American Water Works Association (AWWA Water Stats).  AMSA has since become the National Association of Clean Water Agencies (NACWA) and AWWA has ceased publishing Water Stats.  The most recent financial data from these two organizations, the 2008 NACWA Financial Survey Summary and the 2010 Water and Wastewater Rate Survey do not offer the same level of detail previously provided.  Maintenance costs for collection, distribution and treatment can no longer be based upon these sources.  Organizational operating budgets from each of the 40 public entities previously used were reviewed.

Comparable financial data was displayed in only three cases – the Union Sanitary District, California, Fairfield Suisun Sanitary District, also in California, and Madison Metropolitan Sewerage District, Wisconsin.  In the case of Madison, the cost of the collection system decreased from $4.70/LF to $2.97 from 2002 to 2010; Fairfield-Suisun declined from $10.58 to $5.38 and Union increased from $0.95 to $1.088.  For all other public entities, budget data was published in sufficient detail to be usable.

Advances in technology may account for some of this change, but it is more likely that survey procedures do not allow for the level of detail once obtained.

Accordingly, the v13 sustainment unit cost is inflated to v14.