TABLE 4-1. LOBBY

|  |  |
| --- | --- |
| **Description/ Usage** | The Lobby serves as the entrance to the facility. This entrance should be recognizable from the outside and be close to the school bus drop-off, base bus stop, and patron parking. The lobby should be open and friendly and serve to introduce the rest of the facility. It should have a comfortable area for waiting. The Check-in (see Table 4-2) is an integral part of the lobby. |
| **Min. Ceiling Ht.** | 2.74 m (9 ft.) minimum. |
| **Finishes** | **Walls.**  Provide a low-maintenance, durable finish. Prefer a wainscot. Consider painted gypsum wallboard or the use of vinyl wall covering where budget and practical considerations allow. |
|  | **Floor.** Provide a low-maintenance, durable, moisture and slip-resistant finish suitable for this high traffic area. Consider seamless vinyl, stained concrete, or stone or quarry tile. Provide a walk-off mat/area at the entrance door. |
|  | **Ceiling.** Provide a decorative ceiling. Consider exposed, painted structure. |
| **Plumbing** | None required. Consider providing a drinking fountain. |
| **HVAC** | 20 C (68 F) minimum, 26 C (78 F) maximum. |
| **Fire Protection** | Provide system per paragraph 3-5.3. |
| **Power** | Provide outlets per code. Consider outlets for display cases. |
| **Lighting** | 430 lux (40 fc). General ambient lighting. Consider decorative and task lighting. |
| **Communication** | **CCTV.** Provide at least one outlet.  **CATV/Internal Video.** None required.  **PA/Audio.** Provide a speaker.  **Telephone.** Consider providing one line for local or toll-free calls.  **Data.** None required.  **Security.** None required. |
| **Casework** | Consider providing display cases in this space and along corridors for display of projects. |
| **Furnishings Fixtures & Equip. (FF&E)** | Floor mat at entrance; soft padded furniture for seating/waiting area; tables; magazine rack, and tack surfaces. Consider providing a pay phone.  For Army, consider providing a ceiling or wall-mounted TV and security monitors. |
| **Special Req.** | Airlock at main entrance. Signage. |
| For use during project execution by the appropriate Service agency | |
| **Occupancy** | Staff. |
|  | Patrons/Youth. |
| **Min. net m2 (ft2)** |  |