SECTION 01528 - ENTRY INTO CONTROLLED AREAS

GENERAL COMMENTS

This section describes the requirements for entry into a controlled area such as the space above a suspended ceiling where there is an asbestos-containing fireproofing.   This allows access to perform operations and maintenance work activities in the controlled space.  Some of these activities could disturb asbestos-containing materials, and there are separate specifications for that work.  It is intended to be used with several other sections to write specifications for O&M work that is going to be hired out to an asbestos abatement contractor rather than being performed by facility maintenance staff.  O&M programs are frequently structured so that work that can be accomplished while avoiding ACM is carried out by facility staff, and work that actually disturbs ACM is contracted out.  NIBS publishes a manual on the design of asbestos O&M programs and work practices: GUIDANCE MANUAL, Asbestos Operations & Maintenance Work Practices.  Refer to the NIBS O&M Manual, the introduction, and the evaluation for section 02083 for more discussion on the design of asbestos O&M programs.

- 01527 Regulated Areas:  This section provides the language for specifying the set up of a regulated area, as required by OSHA, in the area in which operations and maintenance work is to take place.

- 01560 Worker Protection - Repair and Maintenance:  describes the training, equipment and procedures necessary to protect workers against asbestos contamination and other work place hazards during maintenance activities.  Respiratory protection is covered in the following section.

- 01562 Respiratory Protection:  Establishes procedures and equipment for adequate protection against inhalation of airborne asbestos fibers.

- 02083 Disturbance of ACM During O&M Work:   This section is used to specify the O&M work activities for which there is a negative exposure assessment, and the work is performed in the open.  Work of this section is performed in a regulated area.

- 01529 Mini-enclosures and Glovebags:  Control procedures for maintenance activities that involve the disturbance of small areas of asbestos-containing materials, but for which there is no negative exposure assessment, or that involve drilling, cutting, abrading, sanding, chipping, breaking or sawing of TSI or surfacing material are set forth in this section.

The following sections are also intended to be used in securing contractor services in support of an operations and maintenance program.  The specifications of the contracted portion of a typical asbestos O&M program will probably include most or all of the following sections.  These sections need to be combined with the administrative specification sections and the other parts of the contract.  Refer to the introduction for more information on the administrative specification sections and the necessary parts necessary for a complete set of Contract Documents.

- 01046 Cutting and Patching - Asbestos-Containing Materials:  This section describes procedures to be used if asbestos-containing materials must be cut and patched.

- 01712 Cleaning and Decontamination Procedures:  Sets forth procedures to clean up asbestos debris and dust, and procedures to decontaminate objects and rooms.

- 02084 Disposal of Asbestos-Containing Waste Material:  The requirements for the proper containing, transport and disposal of asbestos waste are set forth in this section.

- Section 02085 Resilient Flooring Removal - Resilient Floor Covering Manufacturers Recommended Non-Aggressive Work Practices:  This section describes the work practices for intact removal of resilient flooring, and the requirements for a negative exposure assessment for this sort of work.  This section is written to be a stand-alone performance based specification for resilient flooring removal.  It could be used to bid this work separately from other O&M work.  Revision would be required to make this section work with the other O&M sections.  However, the necessary work practices can be excerpted from Part 3- Execution of this section and inserted in Section 02083.

- 15254 Repair of Insulation and Lagging:  Describes repair of insulation on pipes and other equipment using procedures that involve primarily bridging encapsulants and fabric reinforcing.