SECTION 01301 - SUBMITTALS - ASBESTOS ABATEMENT

BASED ON SECTION 01300 "SUBMITTALS" FROM MASTERSPEC TEXT COPYRIGHTED IN 1994 BY AIA, THE AMERICAN INSTITUTE OF ARCHITECTS.

NORMALLY THE CONTRACTORS CONSTRUCTION SCHEDULE WOULD BE IN THIS SECTION. IN THE MODEL GUIDE SPECIFICATION, THE CONTRACTORS CONSTRUCTION SCHEDULE HAS BEEN MOVED TO SECTION 01043 COORDINATION, MAKING THIS SECTION A PURELY ADMINISTRATIVE ONE.

THIS SECTION HAS BEEN COMPLETELY REVISED TO REFLECT THE CHANGES OF THE REVISED CORRESPONDING MASTERSPEC SECTION.

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	SUMMARY

A.	This Section includes administrative and procedural requirements for submittals required for performance of the Work, including the following:

REVISE THE LIST BELOW TO INCLUDE OTHER REQUIRED SUBMITTALS.

1.   Submittal schedule.

2.   Daily construction reports.

3.   Shop Drawings.

4.   Product Data.

5.   Samples.

6.   Quality Assurance Submittals

B.	Administrative Submittals:  Refer to other Division 1 Sections and other Contract Documents for requirements for administrative submittals.  Such submittals include, but are not limited to, the following:

THE LIST BELOW INCLUDES ADMINISTRATIVE SUBMITTALS INCLUDED ELSEWHERE IN CONTRACT DOCUMENTS. ADD ITEMS IF NECESSARY.

1.   Permits

2.   Applications for payment

3.   Performance and payment bonds

4.   Insurance certificates

5.   List of Subcontractors

THE PARAGRAPHS BELOW INCLUDE SUBMITTALS USUALLY SPECIFIED IN OTHER SECTIONS. REVISE TO SATISFY PROJECT REQUIREMENTS.

C.	RELATED SECTIONS

1.	 The following Sections contain requirements that relate to this Section:

SUBPARAGRAPHS BELOW INCLUDE SUBMITTALS USUALLY SPECIFIED IN OTHER SECTIONS. REVISE TO SUIT PROJECT.

a.	Division 1 Section "Applications for Payment - Asbestos Abatement" specifies requirements for submittal of the Schedule of Values.

REVISE SUBPARAGRAPH BELOW TO SUIT PROJECT IF SUBMITTAL OF COORDINATION DRAWINGS IS INCLUDED UNDER THIS SECTION.

b.	Division 1 Section "Coordination" specifies requirements governing submittal and distribution of meeting and conference minutes.

c.	Division 1 Section "Project Closeout-Asbestos Abatement" specifies requirements for submittal of Project Record Documents and warranties at project closeout.

1.3	SUBMITTAL PROCEDURES

COORDINATE REQUIREMENTS IN THIS ARTICLE WITH "SUBMITTAL SCHEDULE" ARTICLE. REVISE REQUIREMENTS TO SUIT PROJECT. IF A SUBMITTAL REVIEW SEQUENCE POLICY GOVERNS, REVISE THIS ARTICLE TO COMPLY WITH REQUIREMENTS.

A.	Coordination:  Coordinate preparation and processing of submittals with performance of construction activities.  Transmit each submittal sufficiently in advance of performance of related construction activities to avoid delay.

1.	Coordinate each submittal with fabrication, purchasing, testing, delivery, other submittals, and related activities that require sequential activity.

RETAIN SUBPARAGRAPH BELOW WHERE ONE SUBMITTAL HAS AN IMPACT ON ANOTHER.

2.	Coordinate transmittal of different types of submittals for related elements of the Work so processing will not be delayed by the need to review submittals concurrently for coordination.

a.	The Designer reserves the right to withhold action on a submittal requiring coordination with other submittals until all related submittals are received.

REVISE THE PARAGRAPHS BELOW TO SATISFY PROJECT REQUIREMENTS. DELETE IF GENERAL CONDITIONS ARE ADEQUATE.

B.	Processing:   To avoid the need to delay installation as a result of the time required to process submittals, allow sufficient time for submittal review, including time for resubmittals.

MODIFY PROCESSING TIME TO SUIT PROJECT.

1.	Allow 2 weeks for initial review.  Allow additional time if the Designer must delay processing to permit coordination with subsequent submittals.

2.	If an intermediate submittal is necessary, process the same as the initial submittal.

3.	Allow 2 weeks for reprocessing each submittal.

4.	No extension of Contract Time will be authorized because of failure to transmit submittals to the Designer sufficiently in advance of the Work to permit processing.

C.	Submittal Preparation:  Place a permanent label or title block on each submittal for identification.  Indicate the name of the entity that prepared each submittal on the label or title block.

IF DESIRED, REVISE THE SIZE OF THE SPACE INDICATED BELOW.

1.	Provide a space approximately 4 by 5 inches (100 by 125 mm) on the label or beside the title block on Shop Drawings to record the Contractor's review and approval markings and the action taken.

2.	Include the following information on the label for processing and recording action taken.

MODIFY LIST BELOW TO SUIT PROJECT.

a.	Project name.

b.	Date.

c.	Name and address of the Designer.

d.	Name and address of the Contractor.

e.	Name and address of the subcontractor.

f.	Name and address of the supplier.

g.	Name of the manufacturer.

h.	Number and title of appropriate Specification Section.

i.	Drawing number and detail references, as appropriate.

EXPAND OR OTHERWISE MODIFY PARAGRAPH BELOW TO SUIT PROJECT.

3.	Place a permanent label or title block on each submittal for identification.  Indicate the name of the entity that prepared each submittal on the label or title block.

EXPAND OR OTHERWISE MODIFY THE NEXT PARAGRAPH TO SUIT PROJECT REQUIREMENTS.

D.	Submittal Transmittal:  Package each submittal appropriately for transmittal and handling.  Transmit each submittal from the Contractor to the Designer using a transmittal form.  The Designer will not accept submittals received from sources other than the Contractor.

RETAIN SUBPARAGRAPH BELOW WITH ANY OF THE OPTIONAL TRANSMITTAL FORMS BELOW.

1.	On the transmittal, record relevant information and requests for data.  On the form, or separate sheet, record deviations from Contract Document requirements, including variations and limitations.  Include Contractor's certification that information complies with Contract Document requirements.

IF TRANSMITTAL FORMS USED BY CONTRACTORS ARE ACCEPTABLE, DELETE BOTH OPTIONS BELOW. OTHERWISE, RETAIN 1 OF 2 FORMS BELOW.

E.	Transmittal Form:  Use AIA Document G810.

PROVIDE A SAMPLE FORM AT THE END OF THE SECTION IF THIS OPTION IS SELECTED.

F.	Transmittal Form:  Use the sample form at the end of this Section for transmittal of submittals.

1.4	SUBMITTAL SCHEDULE

RETAIN THIS ARTICLE. THE REQUIREMENT FOR A SUBMITTAL SCHEDULE WAS ADDED TO THE 1987 EDITION OF AIA DOCUMENT A201. COORDINATE WITH "SUBMITTAL PROCEDURES" ARTICLE. REVISE REQUIREMENTS TO SUIT PROJECT. IF A SUBMITTAL REVIEW SEQUENCE POLICY GOVERNS SUBMITTALS, INSERT SPECIFIC REQUIREMENTS..

THE LISTING AT THE END OF THIS SECTION DUPLICATES THE LISTING THAT OCCURS IN EACH SPECIFICATION SECTION. INCLUDING THIS DUPLICATION INCREASES THE RISK OF INCONSISTENT REQUIREMENTS FOR SUBMITTALS. GATHERING ALL SUBMITTAL REQUIREMENTS INTO ONE LOCATION IS CONVENIENT. THE DESIGNER SHOULD REVIEW WITH THEIR ATTORNEY THE LIABILITY IMPLICATIONS OF SUBMITTAL REQUIREMENTS. THIS SECTION COULD BE REVISED TO BECOME A LISTING OF ALL SUBMITTALS, AND THE CORRESPONDING LISTING DELETED FROM INDIVIDUAL SPECIFICATION SECTIONS, OR THE LISTING IN THIS SECTION COULD BE DELETED, OR THE EXISTING LANGUAGE COULD BE LEFT SO THAT THE LISTING IN THIS SECTION IS FOR CONVENIENCE ONLY.

A.	Listing:  At the end of this section is a listing of the principal submittals required for the work.  This listing is not necessarily complete, nor does the listing reflect  the  significance of each submittal requirement.  The listing is included only for the convenience of users of the Contract Documents.

REVISE TIME PERIOD BELOW TO SUIT PROJECT. CONSIDER REQUIRING SUBMITTAL CONCURRENTLY WITH CONTRACTOR'S CONSTRUCTION SCHEDULE.

B.	Submittal Schedule:  After development and acceptance of the Contractor's Construction Schedule, prepare a complete schedule of submittals.  Submit the schedule within 10 days of the date required for submittal of the Contractor's Construction Schedule.

REVISE SUBPARAGRAPH BELOW IF NECESSARY TO SUIT PROJECT.

1.	Coordinate Submittal Schedule with the list of subcontracts, Schedule of Values, and the list of products as well as the Contractor's Construction Schedule.

2.	Prepare the schedule in chronological order.  Provide the following information:

IF CIRCUMSTANCES WARRANT, REVISE LIST BELOW. ADD INFORMATION, SUCH AS SCHEDULED DATES FOR PURCHASING AND INSTALLATION, AND THE ACTIVITY OR EVENT NUMBER IF A CPM TYPE CONSTRUCTION SCHEDULE IS USED.

a.	Scheduled date for the first submittal.

b.	Related Section number.

c.	Submittal category (Shop Drawings, Product Data, or Samples).

d.	Name of the subcontractor.

e.	Description of the part of the Work covered.

f.	Scheduled date for resubmittal.

g.	Scheduled date for the Designer's final release or approval.

C.	Distribution:  Following response to the initial submittal, print and distribute copies to the Designer, Owner, subcontractors, and other parties required to comply with submittal dates indicated.  Post copies in the Project meeting room and field office.

1.	When revisions are made, distribute to the same parties and post in the same locations.  Delete parties from distribution when they have completed their assigned portion of the Work and are no longer involved in construction activities.

D.	Schedule Updating:  Revise the schedule after each meeting or activity where revisions have been recognized or made.  Issue the updated schedule concurrently with the report of each meeting.

1.5	SHOP DRAWINGS

DELETE THE THIS ARTICLE IF THERE ARE TO BE NO SHOP DRAWINGS. THERE WILL FREQUENTLY BE NO SHOP DRAWINGS ON ASBESTOS ABATEMENT PROJECTS, PARTICULARLY ON PROJECTS THAT INVOLVE ONLY ASBESTOS REMOVAL.

MODIFY BELOW TO SUIT EACH PROJECT. COMPLY WITH OWNER'S REQUIREMENTS AND OFFICE POLICY.

A.	Submit newly prepared information drawn accurately to scale.  Highlight, encircle, or otherwise indicate deviations from the Contract Documents.  Do not reproduce Contract Documents or copy standard information as the basis of Shop Drawings.  Standard information prepared without specific reference to the Project is not a Shop Drawing.

B.	Shop Drawings include fabrication and installation Drawings, setting diagrams, schedules, patterns, templates and similar Drawings.  Include the following information:

AMPLIFY LIST BELOW AS NECESSARY TO SUIT PROJECT.

1.	Dimensions.

2.	Identification of products and materials included by sheet and detail number.

3.	Compliance with specified standards.

4.	Notation of coordination requirements.

5.	Notation of dimensions established by field measurement.

MODIFY SUBPARAGRAPH BELOW TO ESTABLISH A STANDARD SHEET SIZE AND FORMAT.

C.	Sheet Size:  Except for templates, patterns and similar full-size Drawings, submit Shop Drawings on sheets at least 8-1/2 by 11 inches (215 by 280 mm) but no larger than 36 by 48 inches (890 by 1220 mm).

CONSIDER OMITTING THE REQUIREMENT FOR AN INITIAL SUBMITTAL OF SHOP DRAWINGS BELOW.

D.	Initial Submittal:  Submit one correctable, translucent, reproducible print and one blue- or black-line print for the Designer's review.  The Designer will return the reproducible print.

USUALLY RETAIN SUBPARAGRAPH ABOVE AND DELETE SUBPARAGRAPH BELOW. RETAIN BELOW ONLY FOR SMALL PROJECTS.

E.	Initial Submittal:  Submit 2 blue- or black-line prints for the Designer's review.  The Designer will return one print.

RETAIN SUBPARAGRAPH BELOW WHEN INITIAL SUBMITTAL IS A REPRODUCIBLE PRINT.

F.	Final Submittal:  Submit 3 blue- or black-line prints; submit 5 prints where required for maintenance manuals.  The Designer will retain 2 prints and return the remainder.

RETAIN SUBPARAGRAPH BELOW WHEN INITIAL SUBMITTAL IS AN OPAQUE PRINT.

G.	Final Submittal:  Submit 3 blue- or black-line prints and 2 additional prints where required for maintenance manuals, plus the number of prints needed by the Designer for distribution.  The Designer will retain 2 prints and return the remainder.

RETAIN SUBPARAGRAPH BELOW WITH EITHER OF THE SUBPARAGRAPHS ABOVE.

1.	One of the prints returned shall be marked up and maintained as a "Record Document."

2.	Do not use Shop Drawings without an appropriate final stamp indicating action taken.

1.6	PRODUCT DATA

DELETE THE THIS ARTICLE IF THERE ARE TO BE NO PRODUCT DATA SUBMITTALS. THERE WILL FREQUENTLY BE NO PRODUCT DATA SUBMITTALS ON ASBESTOS ABATEMENT PROJECTS, PARTICULARLY ON PROJECTS THAT INVOLVE ONLY ASBESTOS REMOVAL.

MODIFY PARAGRAPHS BELOW TO COMPLY WITH OWNER'S REQUIREMENTS AND OFFICE POLICY.

A.	Collect Product Data into a single submittal.  Product Data includes printed information such as manufacturer's installation instructions, catalog cuts, standard wiring diagrams and performance curves.  Where Product Data must be specially prepared because standard printed data is not suitable for use, submit as "Shop Drawings."

1.	Mark each copy to show applicable choices and options.  Where printed Product Data includes information on several products, some of which are not required, mark copies to indicate the applicable information.  Include the following information:

AMPLIFY THE LIST BELOW AS NECESSARY TO SATISFY PROJECT REQUIREMENTS.

a.	Manufacturer's printed recommendations.

b.	Compliance with recognized trade association standards.

c.	Compliance with recognized testing agency standards.

d.	Application of testing agency labels and seals.

e. 	Notation of dimensions verified by field measurement.

f. 	Notation of coordination requirements.

2.	Do not submit Product Data until compliance with requirements of the Contract Documents has been confirmed.

RETAIN THE NEXT PARAGRAPH UNLESS THIS PROCEDURE IS NOT PERMITTED OR ENCOURAGED.

B.	Preliminary Submittal:  Submit a preliminary single-copy of Product Data where selection of options is required.

REVISE THE NEXT PARAGRAPH IF A METHOD OF HANDLING SIMILAR TO THAT FOR SHOP DRAWINGS IS DESIRED.

C.	Submittals:  Submit 3 copies of each required submittal.  The Designer will retain two, and will return the one marked with action taken and corrections or modifications required.

1.	Unless noncompliance with Contract Document provisions is observed, the submittal may serve as the final submittal.

D.	Distribution:  Furnish copies of final submittal to installers, subcontractors, suppliers, manufacturers, fabricators, and others required for performance of construction activities.  Show distribution on transmittal forms.

1.	Do not proceed with installation until a final submittal is in the installer's possession.

2.	Do not permit use of unmarked copies of Product Data in  connection with construction.

1.7	SAMPLES

DELETE THE THIS ARTICLE IF THERE ARE TO BE NO SAMPLES. THERE WILL FREQUENTLY BE NO SAMPLES ON ASBESTOS ABATEMENT PROJECTS, PARTICULARLY ON PROJECTS THAT INVOLVE ONLY ASBESTOS REMOVAL.

MODIFY BELOW TO SUIT EACH PROJECT. COMPLY WITH OWNER'S REQUIREMENTS AND OFFICE POLICY.

A.	Submit full-size, fully fabricated Samples cured and finished as specified and physically identical with the material or product proposed.  Samples include partial sections of manufactured or fabricated components, cuts or containers of materials, color range sets, and swatches showing color, texture, and pattern.

1.	Mount or display Samples in the manner to facilitate review of qualities indicated.  Prepare Samples to match the Designer's sample.  Include the following:

AMPLIFY LIST BELOW AS NECESSARY TO SUIT PROJECT.

a.	Specification Section number and reference.

b.	Generic description of the Sample.

c.	Sample source.

d.	Product name or name of the manufacturer.

e.	Compliance with recognized standards.

f.	Availability and delivery time.

2.	Submit Samples for review of size, kind, color, pattern, and texture.  Submit Samples for a final check of these characteristics with other elements and a comparison of these characteristics between the final submittal and the actual component as delivered and installed.

a.	Where variation in color, pattern, texture, or other characteristic is inherent in the material or product represented, submit at least 3 multiple units that show approximate limits of the variations.

RETAIN SUBPARAGRAPH BELOW IF SAMPLES ILLUSTRATE THE ASSEMBLY OF DIFFERENT COMPONENTS THAT COMPRISE A SINGLE UNIT.

3.	Refer to other Specification Sections for requirements for Samples that illustrate workmanship, fabrication techniques, details of assembly, connections, operation, and similar construction characteristics.

CONSIDER CHANGING THE NUMBER OF SETS IN SUBPARAGRAPH BELOW TO 1 OR 2, OR MODIFY TO COMPLY WITH OWNER'S REQUIREMENTS.

B.	Submittals:  Except for Samples illustrating assembly details, workmanship, fabrication techniques, connections, operation, and similar characteristics, submit 3 sets.  The Designer will return one set marked with the action taken.

1.	Maintain sets of Samples, as returned, at the Project Site, for quality comparisons throughout the course of construction.

2.	Unless noncompliance with Contract Document provisions is observed, the submittal may serve as the final submittal.

3.	Sample sets may be used to obtain final acceptance of the construction associated with each set.

RETAIN PARAGRAPH BELOW EVEN IF ANOTHER SET IS RETAINED AND SENT TO THE FIELD OFFICE BY OWNERS REPRESENTATIVE FOR THAT PURPOSE.

C.	Distribution of Samples:  Prepare and distribute additional sets to subcontractors, manufacturers, fabricators, suppliers, installers, and others as required for performance of the Work.  Show distribution on transmittal forms.

IF FIELD SAMPLES ARE NOT REQUIRED, DELETE SUBPARAGRAPH BELOW. FIELD SAMPLES MAY INCLUDE PAINTED SURFACES, FLOOR PATTERNS, INTEGRATED CEILINGS, MASONRY, AND SIMILAR ITEMS. REVIEW SECTIONS IN DIVISIONS 2 THROUGH 16 CAREFULLY BEFORE DELETING.

1	Field samples are full-size examples erected on-site to illustrate finishes, coatings, or finish materials and to establish the Project standard.

a0	Comply with submittal requirements to the fullest extent possible.  Process transmittal forms to provide a record of activity.

1.8	QUALITY ASSURANCE SUBMITTALS

MODIFY BELOW TO SUIT EACH PROJECT. COMPLY WITH OWNER'S REQUIREMENTS AND OFFICE POLICY.

A0	Submit quality-control submittals, including design data, certifications, manufacturer's instructions, manufacturer's field reports, and other quality-control submittals as required under other Sections of the Specifications.

REVISE PARAGRAPH BELOW TO COMPLY WITH SPECIFIC PROJECT REQUIREMENTS.

B0	Certifications:  Where other Sections of the Specifications require certification that a product, material, or installation complies with specified requirements, submit a notarized certification from the manufacturer certifying compliance with specified requirements.

1	Signature:  Certification shall be signed by an officer of the manufacturer or other individual authorized to sign documents on behalf of the company.

1.9	MISCELLANEOUS SUBMITTALS:

INCLUDE THE FOLLOWING PARAGRAPH ONLY AFTER SEEKING ADVICE OF LEGAL COUNSEL. ACCEPTING A SUBMITTAL OF MATERIAL SAFETY DATA SHEETS MAY EXPOSE THE DESIGNER TO LIABILITIES THAT ARE BEYOND THOSE INVOLVED IN A NORMAL CONSTRUCTION PROJECT. THIS COULD BE THE CASE EVEN IF THE SUBMITTAL IS STAMPED, RECEIVED - NOT REVIEWED.

A0	Material Safety Data Sheets: Process material safety data sheets as product data.  These are submitted for information purposes only, they will be returned with the action stamp, Received - Not Reviewed.

GENERALLY DELETE THE FOLLOWING UNLESS SPECIFIC INSPECTIONS OR TESTING ARE REQUIRED BY THE SPECIFICATION. USUALLY ALL TESTING ON AN ASBESTOS ABATEMENT PROJECT WILL PROVIDED BY OWNER.

B0	Inspection and Test Reports:  Classify each inspection and test report as being either "shop drawings" or "product data" depending on whether the report is specially prepared for the project, or a standard publication of workmanship    control testing at the point of production.  Process inspection and test reports accordingly.

GENERALLY DELETE THE FOLLOWING OR REVISE TO COMPLY WITH SPECIFIC OWNER REQUIREMENTS.

C0	Project Photographs:  Furnish 2 prints each of 3 project photographs at monthly intervals.  Comply with Designer's direction concerning desired vantage points for shots.

D0	Records of Actual Work:  Furnish 4 copies of records of actual work, one of which will be returned for inclusion in the record documents as specified in section "Project Closeout".

GENERALLY DELETE THE FOLLOWING UNLESS THERE ARE SPECIFIC STANDARDS FOR WHICH A SUBMISSION IS DESIRED. THIS COULD BE A VERY EXPENSIVE REQUIREMENT. MANY OF THE STANDARDS REFERENCED IN THIS DOCUMENT ARE EXPENSIVE. POSSIBLY REVISE THE NEXT PARAGRAPH TO INCLUDE A COPY OF STANDARDS FOR THE OWNER'S RECORDS, WHERE NECESSARY.

E0	Standards:  Where submittal of a copy of standards is indicated, and except where copies of standards are specified as an integral part of a "Product Data" submittal, submit a single copy of standards for the Designer's use.  Where workmanship, whether at the project site or elsewhere is governed by a standard, furnish additional copies of the standard to fabricators, installers and others involved in the performance of the work.

F0	Closeout Submittals:  Refer to section "Project Closeout" and to individual sections of these specifications for specific submittal requirements of project closeout information.

G0	Record Documents:  Furnish set of original documents as maintained on the project site.  Along with original marked-up record drawings provide 2 photographic copies of marked-up drawings, which, at the Contractor's option, may be reduced to not less than half size.

1.10	DESIGNERS ACTION

ARTICLE 4.2.7 OF AIA DOCUMENT A201 STATES THE ARCHITECT (DESIGNER) WILL REVIEW AND APPROVE OR TAKE OTHER APPROPRIATE ACTION UPON THE CONTRACTOR'S SUBMITTALS..." TO COMPLY WITH LANGUAGE IN AIA DOCUMENT A201, THIS SECTION USES THE WORD "APPROVED" IN THIS ARTICLE. UPON ADVICE OF LEGAL COUNSEL, MODIFY THE ARTICLE BY CHANGING THE WORD TO MILDER PHRASE.

A0	Except for submittals for the record or information, where action and return is required, the Designer will review each submittal, mark to indicate action taken, and return promptly.

1	Compliance with specified characteristics is the Contractor's responsibility.

REQUIREMENTS BELOW ILLUSTRATE THE POLICY FOLLOWED BY MANY OFFICES. REVISE TO REFLECT PROJECT REQUIREMENTS.

MANY ARCHITECTURAL OFFICES USE A STAMP TO INDICATE THE ACTION TAKEN. RETAIN PARAGRAPH BELOW WHEN USING AN ACTION STAMP, OR SUBSTITUTE ANOTHER SYSTEM.

B0	Action Stamp:  The Designer will stamp each submittal with a uniform, action stamp.  The Designer will mark the stamp appropriately to indicate the action taken, as follows:

1	Final Unrestricted Release:  When the Designer marks a submittal "Approved," the Work covered by the submittal may proceed provided it complies with requirements of the Contract Documents.  Final payment depends on that compliance.

2	Final-But-Restricted Release:  When the Designer marks a submittal "Approved as Noted," the Work covered by the submittal may proceed provided it complies with notations or corrections on the submittal and requirements of the Contract Documents.  Final payment depends on that compliance.

3	Returned for Resubmittal:  When the Designer marks a submittal "Not Approved, Revise and Resubmit," do not proceed with Work covered by the submittal, including purchasing, fabrication, delivery, or other activity.  Revise or prepare a new submittal according to the notations; resubmit without delay.  Repeat if necessary to obtain different action mark.

a0	Do not use, or allow others to use, submittals marked "Not Approved, Revise and Resubmit" at the Project Site or elsewhere where Work is in progress.

4	Received - Not Reviewed:  When the Designer marks a submittal "Received - Not Reviewed this acknowledges that the submittal has been received.  This action applies to materials that are to be submitted for information purposes only, and where no review or action by the Designer is required.

SUBPARAGRAPH BELOW IS FOR USE WHERE NEITHER APPROVAL NOR REJECTION IS AN APPROPRIATE ACTION FOR DESIGNER'S MARKING OF A SUBMITTAL. .

5	Other Action:  Where a submittal is for information or record purposes or special processing or other activity, the Designer will return the submittal marked "Action Not Required."

C0	Unsolicited Submittals:  The Designer will return unsolicited submittals to the sender without action.

PART 2 - PRODUCTS  (Not Applicable)

PART 3 - EXECUTION  (Not Applicable)

END OF SECTION 01301