SECTION 01094 - CODES, REGULATIONS AND STANDARDS - LEAD-BASED PAINT

PART

1 - GENERAL

1.1	RELATED DOCUMENTS:

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division-1 Specification sections, apply to this section.

1.2	SUMMARY

This section sets forth governmental regulations and industry standards which are included and incorporated herein by reference and made a part of the specification.  This section also sets forth those notices and permits which are known to the Owner and which either must be applied for and received, or which must be given to governmental agencies before start of work.

A.	Requirements include adherence to work practices and procedures set forth in applicable codes, regulations, guidelines and standards.

B.	Requirements include obtaining permits, licenses, inspections, releases and similar documentation, as well as payments, statements and similar requirements associated with codes, regulations, and standards.

1.3	CODES AND REGULATIONS

A.	General Applicability of Codes and Regulations, Guidelines and Standards:  Except to the extent that more explicit or more stringent requirements are written directly into the contract documents, all applicable codes, regulations, guidelines and standards have the same force and effect (and are made a part of the contract documents by reference) as if copied directly into the contract documents, or as if published copies are bound herewith.

B.	Contractor Responsibility:  The Contractor shall assume full responsibility and liability for the compliance with all applicable Federal, State, and local regulations pertaining to work practices, hauling, disposal, and protection of workers, visitors to the site, and persons occupying areas adjacent to the site.  The Contractor is responsible for providing medical examinations and maintaining medical records of personnel as required by the applicable Federal, State, and local regulations. The Contractor shall hold the Owner and Designer harmless for failure to comply with any applicable work, hauling, disposal, safety, health or other regulation on the part of himself, his employees, or his subcontractors.

C.	Federal Requirements: which govern lead based paint abatement work or hauling and disposal of hazardous waste materials include but are not limited to the following:

1.	OSHA:  U.S. Department of Labor, Occupational Safety and Health Administration, (OSHA), including but not limited to:

29 CFR 1910.134		-Respiratory Protection

29 CFR 1926.20		-General safety and health provisions;

29 CFR 1926.21		-Safety training and education;

29 CFR 1926.23		-First Aid

29 CFR 1926.24		-Fire Protection

29 CFR 1926.25		-Housekeeping;

29 CFR 1926.28		-Personal protective equipment;

29 CFR 1926.51(f)	- Washing facilities;

29 CFR 1926.55		-Gases, vapors, fumes, dusts, and mists;

29 CFR 1926.56		-Illumination

29 CFR 1926.57		-Ventilation;

29 CFR 1926.59		-Hazard Communication Standard;

29 CFR 1926.62		-Lead Construction Standard

29 CFR 1926.103		-Respiratory protection;

29 CFR 1926.353		-Ventilation:  Welding, cutting or heating of metals of toxic significance.

29 CFR 1926.300, 	-Hand and power tools.

301, 302

29 CFR 1926.451		-Scaffolding

29 CFR 1926.500,	-Fall Protection

502, 503

2.	DOT:  U. S. Department of Transportation, including but not limited to:

49 CFR 171 and 172 	-Hazardous Substances

3.	EPA:  U. S. Environmental Protection Agency (EPA), including but not limited to:

40 CFR 260, 261,		Resource Conservation and Recovery Act (RCRA)

262, 263 and 264

40 CFR 745 (Proposed)	Lead Based Paint Activities: Training, Certification, and Work Practice Requirements

4.	HUD:    Department of Housing and Urban Development

24 CFR 35, 905, -Lead Based Paint Hazard Elimination; Interim Rule

941, 965 and 968

D.	State Requirements: which govern lead based paint abatement work or hauling and disposal of hazardous waste materials include but are not limited to the following:

1.	NEW YORK STATE - DEC:  New York State Department of Environmental Conservation, Bureau of Hazardous Waste Operations

Regulations regarding waste collector registration

Title 6, Part 364 of the

New York State Official Compilation of Codes,

Rules and Regulations - 6 NYCRR 364

E.	Local Requirements:  which govern lead-based point abatement work or hauling and disposal of lead-based paint waste materials include but are not limited to the following:

F.	Local Requirements:  Abide by all local requirements which govern lead  abatement work or hauling and disposal of hazardous waste materials.

G.	Building Codes:  Comply with applicable provision of state and/or local building codes that govern any part of the work.

H.	Model Codes:  In the absence of an applicable adopted state or local building code which governs work involved in the lead abatement project, comply with the applicable provisions of the BOCA National Codes/1993 published by International Conference for Building Officials or the SBCCI Standard Codes published by Southern Building Code Congress International.

1.4	PERMITS:

A.	Permit:  All hazardous waste is to be transported by an entity maintaining a current "Industrial waste hauler permit" as required for transporting of waste materials to a disposal site.

B.	Building Permit:  Secure all necessary building permits as required by state and/or local building codes.

1.5	POSTING AND FILING OF REGULATIONS

A.	Posting and Filing of Regulations:  Post all notices required by applicable federal, state and local regulations.  Maintain two (2) copies of applicable federal, state and local regulations and standards.  Maintain one copy of each at job site. Keep on file in contractor's office one copy of each.

1.6	SUBMITTALS:

A.	Before Start of Work:  Submit each item in this article to the Designer.  No work shall begin until these submittals are returned with Designer's stamp indicating that the submittal has been received.

1.	Permits, Licenses, and Certificates:  For the Owner's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, and similar documents, correspondence and records established in conjunction with compliance with standards and regulations bearing upon performance of the Work including:

2.	State and Local Regulations:  Submit copies of codes and regulations applicable to the work.

3.	Permits:  Submit copies of current valid permits required by state and local regulations.

4.	Licenses:  Submit copies of all State and Local licenses and permits necessary to carry out the work of this contract.

PART 2 - PRODUCTS   (Not Applicable)

PART 3 - EXECUTION  (Not Applicable)

END OF SECTION - 01094