Inspector:					Signature/Date:

Reason for Evaluation:																	Building POC:

Current weather conditions, temp & humidity level:

CATASTROPHIC EVENT

| Y/N |  | Comments: |
| --- | --- | --- |
|  | Hurricane or Storm - Name:_______________ Date:___________ |  |
|  | Wind damage (describe breach in building envelope) |  |
|  | Flood: Date_______________ High water mark above exterior grade____________________ft. High water mark interior above finish floor_________________ft. |  |
|  | Is site still flooded? Depth of water (exterior)_______________ft. |  |
|  | Discharge of water from building system :____________________ |  |

EXTERIOR SITE AND BUILDING VISUAL REVIEW

| Y/N |  | Comments: |
| --- | --- | --- |
|  | Sources of outside molds and organics (for example, leaf piles and mulch) |  |
|  | Organic or pathogenic (bird droppings) material in or near air intakes |  |
|  | Poor drainage (grading) |  |
|  | Standing water where it may be affecting the indoor environment |  |
|  | Damage to the building foundation or walls |  |
|  | Cracking/Peeling/Rotting building finish |  |
|  | Problems with window and door fit or caulking |  |
|  | Roofing problems (membrane, flashing, penetrations, drains) |  |
|  | Moisture problems within foundation crawlspace/basement |  |
|  | Other Specify |  |
|  | Moisture Reading Level (include location & type of material) |  |

INTERVIEW WITH OCCUPANTS AND MAINTENANCE STAFF (POC):

| Y/N |  | Comments: |
| --- | --- | --- |
|  | Has building been recently renovated or repaired? |  |
|  | Are building occupants reporting poor indoor air quality or odors? |  |
|  | Are building occupants reporting any sensitivity to air quality? |  |
|  | History of moisture or leaks? |  |
|  | Other: Specify |  |

HEATING, VENTILATION, AND AIR-CONDITIONING (HVAC) SYSTEM VISUAL REVIEW

| Y/N |  | Comments: |
| --- | --- | --- |
|  | Filters (dampness and microbial growth, dirt) |  |
|  | Heat exchangers (e.g., cooling coil section including drain pan) |  |
|  | Ductwork (for dampness, microbial growth, dirt, and rust) |  |
|  | Air diffusers/Vents (for dampness, microbial growth, dirt, rust) |  |

Room/Area Description:							 Number:

INTERIOR SPACE REVIEW: GENERAL EVALUATION

| Y/N |  | Comments: |
| --- | --- | --- |
|  | Odors and indoor air quality issues |  |
|  | Inappropriate temperature or humidity level |  |
|  | Moisture Reading Level (include location & type of material) |  |
|  | Cleanliness issues, dust, or unsanitary conditions |  |
|  | Evidence of roaches, flies, mice, rats, etc. |  |
|  | Presence of chemicals, solvents, or pesticides |  |
|  | Visible leaks |  |
|  | Odors and air quality issues from adjacent areas (adjacent area use) |  |
|  | Other specify |  |

INTERIOR SPACE REVIEW: MOISTURE AND MOLD: (Provide digital photograph of areas of suspected mold)

*Moisture present or visible damage/discoloration from water.

| Surfaces, systems, and building components | *Water Y/N | Mold Y/N. | Photo ID | Comments: (Note material type, location on material, and if contaminated surface is porous or non-porous) |
| --- | --- | --- | --- | --- |
| Flooring (carpet, padding, vinyl, tile, wood, raised flooring) |  |  |  |  |
| Walls and molding (include type of substrate and covering; describe condition, bubbling, peeling, discolored) |  |  |  |  |
| Windows and doors (surface condensation, water leaks, and air leaks) |  |  |  |  |
| Ceiling, lighting, and skylights |  |  |  |  |
| Ceiling cavity above drop ceiling (ductwork and piping) |  |  |  |  |
| HVAC registers (identify location) (dampness, microbial growth, rust, and dirt) |  |  |  |  |
| Portable humidifiers (for standing water, microbial growth, and dirt) |  |  |  |  |
| Room air conditioners and filters (standing water, microbial growth, dirt) |  |  |  |  |
| Radiators, chill beams, and other direct heating sources |  |  |  |  |
| Furniture, window treatments, shelving, appliances, storage containers (for dampness, microbial growth, and dirt) |  |  |  |  |
| Around and on plumbing fixtures, laundry and kitchen equipment. |  |  |  |  |
| Closets or utility area |  |  |  |  |
| Hidden area inspection (wall cavity-camera) |  |  |  |  |
| Other specify |  |  |  |  |